## Slide 1
Uncertainties (X) Natural Threats (Earthquakes, Land/Mud slides, Tsunamis, Volcano eruptions or ash falls, Flooding, Hurricane force winds, Severe winter storm, and/or Wildfires) Human-caused Threats (Cyber attacks) Technological Threats (Power and/or Cyber system infrastructure failures) Energy Sector Transition (Power generation & storage system costs and energy carrier costs) Mission Changes (Base or installation mission that impact infrastructure and power demand) | Levers Available (L) MDT Microgrid Power Generation & Storage System Options and Sizes Microgrid typology, distribution lines, switches, transformers REopt Power Generation & Storage System Options and Sizes Systems Locations spatial (on or near base, for example accounting for transmission losses) infrastructure (roof vs land)
Relationships between uncertainties and levers (R) Sandia's Microgrid Design Toolkit (MDT) NREL’s REopt Model Cornell’s Rhodium or BORG DMDU tools (https://reed.cee.cornell.edu/software/) | Metrics of success (M) Mission Availability/Assurance % ( Total operable time [hrs] / total operable + inoperable time [hrs]) [MDT] NPV ($) [REopt] GHG Emissions (ton CO2eq) [REopt] Outage Survivability [REopt]