## Slide 1
A. Stakeholder Considerations
Inputs: what does the stakeholder care about?
Outputs: upper and lower bounds to guide scenario development and initial set of strategies, ranking of concerns
1. Decision Structuring
XLRM Matrix
Inputs: stakeholder consultations
Outputs: uncertainties, levers available, relationships between uncertainties and levers (identifying models), and metrics of success
4. Tradeoff Analysis
Inputs: Reopt conducts CBA
Function:
Outputs:
5. Develop New Strategies
Inputs: any adjusted concerns or bounds
Function: revisit scenario development ensuring internal consistency (plausibility) and diversity amongst scenarios
Outputs: a new set of scenarios to generate more system configurations
Identify Robust Strategies
B. Visualizing Uncertainty, Plotly Julia
Inputs: optimization results with metrics of success
Outputs: parallel coordinates, violin plots, matching sets, continuous error bands, dynamic adaptive policy pathways
Figure: RDM Method
Adapted from Karla et al. 2014 and Marchau et. al. 2019
Process Flow Diagram
Robust Decision Making
3. Vulnerability Assessment
Exploratory Modeling
Inputs: ranges of strategy inputs using Latin hypercube sampling methods
Function: simulates various strategies under future states of the world with REopt
Outputs: model outputs
Scenario Discovery, PRIM
Inputs: model outputs from exploratory modeling
Function: determine when the model fails and when it passes
Outputs: what ‘categories’ of strategies that work, which don’t, what to try next
2. Strategy Generation and Evaluation
REopt
Inputs: initial set of microgrid strategies from MDT
Function: optimize microgrid performance throughout an entire year based on grid connected economics and outage scenarios
Outputs: various metrics of success
MDT
Inputs: base microgrid and expansion parameters
Function: explores various options within bounds for new microgrid based on output metrics
Outputs: initial set of microgrid strategies/policies, mission assurance
CEEP TBD
Notes: CEEP TBD
Vulnerability assessment: exploratory modeling (taking one strategy and simulating it under various future states of the world), results from exploratory modeling and inform scenario discovery (when does it pass/when does it fail), PRIM (scenario discovery tool)
Tradeoff analysis: cba, qualitative, no super specific tool…are there other methods?
What varies between 2 and 3 when dealing with uncertainties
Stakeholder consultations/expert judgements
REOpt in BOTH 2 and 3 and 4 (map of levers and uncertainties to metrics)

## Slide 2: What is a robust strategy?
Strategy meets the most metrics of success over the uncertainties of concern
Dependent on the stakeholder!!
Or meets metrics within a certain margin of error

## Slide 3: Scenario Development, uncertainties
Wildfires
Air quality affecting solar resource availability
Not currently represented in REopt, but may have implications on larger scale generation when outages are not
Obstruction of transportation of essential fuels, operational equipment, and maintenance
Acquire or develop approximate data to generate probabilities of whether extra fuel for generators can be acquired (via closed roads)
Weather event
Energy system impact(s)
Data
Decreased geothermal and hydroelectric generation
Solar generation (preferably hourly)
Air quality data (preferably hourly): Ozone, Sulphur dioxide, and carbon monoxide
Increased load
MEWS? (Can these increases in load be compared to that of heat waves?)
Apply transformations to existing load

## Slide 4
REopt inputs
- Electricity rate
- Normal load
- VoLL
- Capital costs
Energy impacts from wildfires
- Maintenance and operational equipment delays
- Air quality
- Increased erosion into bodies of water used in generation processes
- Decreased hydroelectric and geothermal generation capacity
- Critical load
- System sizing (PV, battery, generator)
- Changes in load patterns during critical period
- Fuel availability
- PV generation

## Slide 5: Wildfire outages
Leveraging historical data
  NSRDB solar data
    Actual and clear sky solar irradiance from 1998-present
    Can compare to understand differential
    ML can identify pattern with air quality or fire size or fire duration or temperature
  May need HPC access for larger data requests
Zeroing in on specific events, test in a few different states?
  California
    2015-2021 to encompass some of the worst fire years by acres burned
    Camp, Tubbs, North Complex, Dixie, Creek
  Oregon
  Colorado

## Slide 6
Snowstorms/freezes
Reduced solar generation
Not currently represented in REopt, but may have implications on larger scale generation and would affect the duration of outages
Obstruction of transportation of essential fuels, operational equipment, and maintenance
Acquire or develop approximate data to generate probabilities of whether extra fuel for generators can be acquired (via closed roads)
Weather event
Obstructs delivery of gas (due to freezing temperatures)
61% of the time there was little to no production due to snow-covered panels
Effects of cloud cover on solar generation
Dramatically increased load
With Texas as an example, the new peak was 11% higher than the previous peak
Snow days experience a 54% reduction in solar production ratio compared to non-snow days
Data
Energy system impact(s)

## Slide 7
REopt inputs
- Electricity rate
- Normal load
- VoLL
- Capital costs
Energy impacts from freezes
- Delay in maintenance and operational equipment
- Natural gas shortages
- Critical load
System sizing (PV, battery, generator)
- Changes in load patterns during critical period
- Fuel availability
- PV generation

## Slide 8: Freeze/snowstorm outages
May be more interesting because connections are generally not lost during freezes and snowstorms, more common during wildfires and hurricanes
Load changes are known, and it is more often a problem of supply and demand
Leveraging historical data
  NRSDB solar data
    Actual and clear sky solar irradiance from 1998-present
    Can compare to understand differential
  May need HPC access for larger data requests
Zeroing in on specific events, test in a few different states?
  California
    2015-2021 to encompass some of the worst fire years by acres burned
    Camp, Tubbs, North Complex, Dixie, Creek
  Oregon
  Colorado

## Slide 9: Stakeholder Concerns

## Slide 10: Machine Learning
Using day-time air quality to predict the amount of additional PV needed to meet the demand
Options
  Time: the decrease in GHI, DHI, and DNI can result in a proportional decrease in the “amount of time” the panels are in the sun
  Efficiency: the decrease in GHI, DHI, and DNI can lead to a lower panel efficiency (although the panel efficiency itself is not down, it is the availability of the resource)

## Slide 11: MEWS and EnergyPlus
Combining a multi-scenario extreme weather simulator and building energy modeling to develop a diverse array of future climate states of the world for the next 40 years