## Slide 1: Natural disasters: impacts on energy systems and the data needed to understand them
Madeline Macmillan

## Slide 2
Wildfires
Air quality affecting solar resource availability
Not currently represented in REopt, but may have implications on larger scale generation when outages are not
Obstruction of transportation of essential fuels, operational equipment, and maintenance
Acquire or develop approximate data to generate probabilities of whether extra fuel for generators can be acquired (via closed roads)
Weather event
Energy system impact(s)
Data
Decreased geothermal and hydroelectric generation
Solar generation (preferably hourly)
Air quality data (preferably hourly): Ozone, Sulphur dioxide, and carbon monoxide
Increased load
MEWS? (Can these increases in load be compared to that of heat waves?)
Apply transformations to existing load

## Slide 3: Additional notes and thoughts on wildfires
Exploring the effects of ML + MILP optimization would be interesting and (I don’t think) too difficult to execute.
Develop a simple machine learning model that helps inform energy system planning decisions based on historical implications of wildfires.
  Based on inputs from the stakeholder (anticipated quantity of fires in a year or size of fires), the model outputs will reflect the necessary actions to maintain power during outages for the microgrid system despite the effects of the fires.
  Parameters: concentrations of Ozone, CO, SO2, size of fire, duration of fire, available solar generation, humidity
  Training: historical wildfires
  Testing: hypothetical future wildfires
I have done a similar project that has room for improvement. I wouldn’t be starting from scratch.

## Slide 4
Hurricanes
Natural gas and oil prices increase during the Atlantic hurricane season
Acquire or develop approximate data to generate probabilities of whether extra fuel for generators can be acquired (via closed roads)
Reduced generation due to flooding, debris, and cloud cover
Solar generation (preferably hourly)
Weather event
Energy system impact(s)
Data
Limited access due to fallen debris and flooding
Increase in generator fuel costs during outages
Changes in demand patterns
Apply transformations to normal demand patterns
Wind generation (preferably hourly)
According to a study, 21% of the time, solar panels remained operational. The other 79% of the time, the solar performance ratio reduced by 12-22%.

## Slide 5
Snowstorms/freezes
Reduced solar generation
Not currently represented in REopt, but may have implications on larger scale generation (not during outages)
Obstruction of transportation of essential fuels, operational equipment, and maintenance
Acquire or develop approximate data to generate probabilities of whether extra fuel for generators can be acquired (via closed roads)
Weather event
Obstructs delivery of gas (due to freezing temperatures)
Probability of snow-covered panels, 61% of the time there was little to no production
Effects of cloud cover on solar generation
Dramatically increased load
With Texas as an example, the new peak was 11% higher than the previous peak
Snow days experience a 54% reduction in solar production ratio compared to non-snow days
Data
Energy system impact(s)